## Slide 1: Darkfield and Phase Contrast Microscopy
Exercise 3
***Turn on your incinerators***

## Slide 2: Darkfield Microscopy
Last week, we took a look at brightfield microscopy
  Bright background, dark specimen
Darkfield Microscopy
  Dark background, specimen is lit up
  Use of special filter
    Blocks out central light rays
    Only scattered light hit the specimen at different angles

## Slide 3: Darkfield Microscopy
Advantages:
  Viewing live organisms
  More detailed view of external features
  Adding a fluorescent dye increase the ability to see your specimen
Disadvantages:
  Better when the room is completely dark
  Needs an intense amount of light from the microscope to work
  Can easily mistake dust for an organism

## Slide 4: How to use Darkfield microscopy
Using a wet mount of a pond water sample. Focus your microscope normally up to the 40x/High Dry Objective.
  Condenser all the way up, Diaphragm all the way open, Light Control turned all the way up
Remove the blue filter attached to the condenser (put this in a spot where it wont go missing)
Replace the blue filter with your darkfield adapter
Use the fine focus to fine tune your image.
https://www.youtube.com/watch?v=qVylp5rAsTA

## Slide 5: Phase Contrast Microscopy
Another type of microscopy
Uses a special adapter that slows down the wavelength of light by ¼ (phase shift)
  Developed by Frits Zernike
The phase shift results in the cell having a different refractive index then its surroundings
  The light passes through the organisms vs the background differently
  Organisms have a halo, bluish background

## Slide 6: How to use phase contrast
Using a wet mount of a pond water sample. Focus your microscope normally up to the 40x/High Dry Objective.
  Condenser all the way up, Diaphragm all the way open, Light Control turned all the way up
Make sure your blue filter is in place
Push in the phase contrast adapter (PH knob under the stage)
Fine tune the image with fine focus
https://www.youtube.com/watch?v=7pR7TNzJ_pA&list=PLJYr_JA9Jjd4hW1V-8PIb5Ot97Jj1-K5r

## Slide 7
Make a wet mount of the pond water
View under Brightfield, Phase Contrast and Darkfield
Make notes of your observations
Check out the guides provided to see if you can identify any of the organisms you find

## Slide 8: Motility
Exercise 4

## Slide 9: Motility
Movement of bacteria
Allows bacteria to move towards favorable environments or away from unfavorable conditions
  Chemotaxis- chemicals
  Phototaxis- light
  Aerotaxis- oxygen
Organelle for motility: flagella
  Monotrichous- single flagellum
  Amphitrichous : flagella at each end of the cell
  Peritrichous : flagellum on all sides
  Lophotrichous : several flagella on one side

## Slide 10: Motility
Brownian movement
  Random movement due to the bombardment of molecules of the solvent
  Not true movement
  Shake or jiggle
Water movement
  Movement due to movement of water under slide
  Not a true movement
  “Goes with the flow”
True motility
  Rapid swimming movement, abrupt changes in directions, swimming against the current

## Slide 11: Motility
Another way to determine motility is the use of Sulfide Indole Motility (SIM) Agar
Semi-soft agar that allows for the movement of bacteria through the medium
  Non-motile bacteria will only grow along the inoculation line
  Motile bacteria will grow along and away the inoculation line

## Slide 12
Inoculation needle
2 test tubes of SIM Agar/group
1 tube/student
What do we need?
Cultures
Pseudomonas aeruginosa
Staphylococcus aureus
LABEL YOUR TUBES
Name/Initials
Class Section
Name of Organism used

## Slide 13
Slightly vortex your bacterial cultures
Flame your needle to sterilize
Dip your sterile needle into your assigned organism
Stab the SIM agar (2/3 the way) as straight as you can, one time.
Flame your loop to sterilize again before putting your needle away
Place your inoculated tube in the class rack
Incubates at 37°C for 24 hours
We will check results next week

## Slide 14: Expected results