THE   MICROSCOPE:

Parts of the binocular compound microscope (identify parts, know their functions, know how to clean and care for each part):

Ocular, diopter adjustment, ocular micrometer, pointer, body tube or head, revolving nose piece, objectives (scanning, low-power, high-power, oil immersion), arm, coarse adjustment knob, fine adjustment knob, base, light source, iris diaphragm, iris diaphragm lever, condenser, condenser height control knob, (pull-out phase adapter), stage, graduated mechanical stage controls, power switch, electrical cord and plug.

Computation of total magnification of specimen being viewed:

OBJECTIVE		     POWER 		        POWER		TOTAL

OF OBJECTIVE           OF OCULAR           MAGNIFICATION

Scanning (red band)	    4X			10X				  40X

Low-power (yellow band)	  10X		   	10X				 100X

High-power (blue band)        40X		   	10X				 400X

Oil immersion (white band) 100X		   	10X				1000X

Note that total magnification = power of objective multiplied by power of ocular.

Care and handling of microscope:

1.  Locate your microscope by number in the cabinet.  Carry with two hands, one

under base and other around the arm.  Keep the microscope level near your

body.

2.  Place scope gently on the lab table (protect table top with plastic sheet or

paper towel).  Do not slide it around on the table; lift it up and set it down.

3.  Do not disassemble your microscope or reorient the oculars.  The eye pieces (oculars) face toward you at the same time that the cord holder also faces you.  Report any problems with your microscope to your instructor IMMEDIATELY.

4.  Keep the scope and lens systems clean. Clean lenses only with the lens paper from your student drawer.  Kim wipes may be used to clean base and stage.

Setting up your microscope at your student station:

1.  Remove the plastic dust cover and place cover in your lab drawer.

2.  Unwrap just enough cord to reach the electrical outlet.  Do not let cord dangle off

table where it could pull the scope onto the floor.

Initial focusing of the microscope (for first slide to be studied during a lab period):

1.  Clean slide to be viewed by wiping gently with a Kimwipe.  If oily, place a few drops of 70% ethyl alcohol onto the Kimwipe and gently wipe the cover slip and bottom of slide. Never place alcohol directly onto a prepared slide.

2.  Place the slide down on the front of the stage with the label facing up and in position to be read.  Open the spring stage clip by pulling the clip arm out.  While keeping the slide flat on the stage, maneuver the slide to rest firmly against the L-shaped guide of the slide holder.  Slowly release the stage clip so that it rests against the corner of the slide (NOT on top of the slide).

3.  Align the cover slip of the slide over the opening in the stage using the graduated mechanical stage control knobs located below and at the left side of stage.

4.  With the scanning objective in position, use the coarse adjustment knob to move the stage up until it stops.  Look from the side of your scope to visually confirm that the objective will not touch the cover slip on top of the slide.

5.  Turn on the light to sufficient intensity to produce a WHITE background (not

yellow). Note that the condenser is in the full up position. Locate the

condenser height control knob forward from course / fine adjustment knobs.

6.  Adjust for individual eye differences:

A.  Viewing through the right eye piece (left eye closed), adjust the coarse adjustment knob away from you until the image is clear.  This will involve lowering the stage no more than about one-fourth of an inch.  An additional slight adjustment (no more than two revolutions) of the fine adjustment knob may be needed to bring the specimen into BEST focus.

B.  Then viewing with the left eye (right eye closed) through the left ocular use the diopter adjustment or zoom feature at the base of this left ocular to bring the specimen into best focus for your left eye.

C.  Viewing with both eyes open, adjust the interpupillary distance by grasping the eye pieces plate and moving the eye pieces closer or farther apart.  You should see ONE circular field of light.   You may also need to adjust the distance you hold your head from the oculars.

Now the slide is in best focus for both eyes.

7. Use the iris diaphragm lever to adjust the amount of light striking your specimen.  	More light will be needed for preserved and stained slides and at higher 	magnifications.  Less light is required for thin preparations and unstained slides.  	Remember the condenser remains in its full uppermost position.

Moving to next higher magnification power (specimen is in best focus under scanning):

1.  Center the specimen to be examined further in the CENTER of the field of view.  	These microscopes are parfocal.  This means that the specimen is focus at

the center of  the field of view will be in partial focus as the next power.

2.  While observing the movement of the objectives from the side grasp the revolving                   	nosepiece and rotate it to the next power (low power – yellow band).

3.  Only minor adjustment with the coarse adjustment (for scanning and low-power                       	objectives ONLY), then fine adjustment (no more that 2 revolutions) if needed.

4.  When moving to high power, repeat steps #1 and #2, but in #3 you may use ONLY fine adjustment knob with high power objective. Watch that it will not touch.

5.  To use the 100X objective, you need to add a drop of immersion oil on the slide.

This technique will be more fully describe on the next page.

After observations have been completed:

1.  Move the revolving nosepiece to low and then to scanning.  Do not drag the oil immersion objective (longest objective) across the cover slip or you will scratch the objective lens!

2.  Open the spring stage clip and slide the microscope slide out to the forward edge of             	the stage.

3.  Return the clean slide to where you obtained it (your slide box or the side counter).

4.  Do not lower the stage or turn off the light if you have another slide to view.

5.  View other slides that are assigned.

6.  After last slide of the day is finished, prepare the microscope for storage as outlined

below.

Storage of your microscope in cabinets:

1.  Scanning objective (4X with red band) in position.

2.  Power switch off.

3.  Stage with NO slide left on it.

4.  All lenses and the stage must be clean.

5.  Graduated mechanical stage centered.

6.  Phase contrast slide in the “OUT” position. *For microscopes in A&P & Micro labs ONLY*

7.  Stage in the full down position. (Do not lower the condenser.)

8.  Cord wrapped around the cord holder.

9.  Plastic dust cover is on.

10. The microscope sits above its number on the cabinet shelf.

Oil immersion techniques (for A&P II, Biology II, and Microbiology Labs ONLY):

1.  Focus the slide as before under the scanning, low power, and high power objectives.  Now the stage and lighting are set for the best resolution of the specimen.

2.  Do not lower the stage.

3.  Rotate the revolving nosepiece back the way you came to high (back to low, then to scanning).  Do not drag the long oil immersion objective over the cover slip.

4.  Place a drop of immersion oil (from your drawer) on the cover slip where the light is passing through the slide.  Be careful not to allow any oil to flow over the edge of the slide onto the condenser lens or onto the stage.

5.  Looking from the side of your scope, visually confirm that the objective will not touch the cover slip of the slide.  Rotate the revolving nosepiece DIRECTLY from Scanning (4X) objective to the 100X objective.  You can see the oil come into contact with the 100X objective.

6.  Focus using the fine adjustment knob.

7.  You may need more light.  Move the iris diaphragm lever to allow more light on the slide.

8.  After study of specimen is complete, turn the revolving nosepiece DIRECTLY from

100X objective to the 4X objective.  This avoids bringing other long lenses in contact with the oil.

9.  Open the spring stage clip and remove slide forward toward the edge of the stage.

10. CLEAN the slide – Remove most of the oil by blotting cover slip with a Kimwipe

Add some 70% ethyl alcohol on a clean Kimwipe and remove any remaining

oily residue.  Return clean slide to where you obtained it (your slide box or side

counter).

11. CLEAN the 100X objective if you are through using oil for this lab session.

Blot (DO NOT RUB) the objective with a clean Kimwipe.  Use lens paper to		polish the 100X lens until no oily residue is observed on the Kimwipe.  Use lens

paper to check other objectives to be sure no oil is on them.

***Never use any liquid to clean your microscope lenses. ***

Using phase contrast optics:

This type of microscopy is used when live, unstained specimens are to be viewed.

1.  Focus the specimen as you have been instructed above on 4X, 10X, and 40X.

2.  When you are in best focus on high power (40X objective), push the phase ring holder into the path of light.  Make sure the condenser is raised to its highest position.  Also, make sure the lever controlling the amount of light entering the condenser is fully open.  You may also have to turn the light source on full.

3.  Only the high power (40X) objective may be used with the phase contrast optics.

Using dark field optics:

This type of microscopy is used when studying diatoms and algae.

1.  Obtain a dark field adapter. Your lab instructor who will show you where to obtain the adapter numbered for your microscope.

2.  Remove the blue filter and snap it onto the bottom of the adapter.

3.  Snap the top of the adapter to the bottom of the condenser.

4.  Focus normally.  Your best resolution will be at low power. Note the different colors.

Measurement of a specimen using the microscope:

A.  Use the ocular micrometer – the small “ruler” in the right eyepiece.

For small specimens that will fit under the ocular micrometer, position ocular

micrometer over specimen.  Move the slide on stage to position the specimen.

You can move the ocular micrometer by rotating the ocular.

The size of the specimen can be determined by multiplying the number of ocular micrometer spaces covered by the specimen by the conversion factor for that objective as given in the following table:

OBJECTIVE:		OCULAR MICROMETER CONVERSION FACTOR:

Scanning				25 microns (micrometers)

Low-power				10 microns

High-power				2.5 microns

Oil immersion			1.0 microns

B.  Use the graduated mechanical stage markings.

For larger specimens, which are too large to fit in the space of the 100 units on the ocular micrometer, follow these steps:

1.  Place the zero line of ocular micrometer at the anterior end of the specimen.

You can move the ocular micrometer by rotating the ocular.

2.  Record the coordinates to the nearest tenth from the graduated mechanical              	stage axes.

3.  View through the ocular micrometer, move the zero line of the ocular                  	micrometer to the posterior end of the specimen.

4.  Record the new coordinates to the nearest tenth.

5.  Calculate the difference between the coordinates.  The stage is marked in                  	graduations of one millimeter.

6.  Convert you answer in millimeters to microns by multiplying mm by 1,000.